- Download QCells CORE

- Select Your Home Location - Dev

- Save - Login Screen

- DEMO

- installer workflow

# Login

Skip if WiFi is not available? TImeout?

# DEMO

Ask Notification Permission

# Dashboard

## Notification

Notification List

From Server? Store Local?

## Side Menu

### My Account Info

ID, Email, Name, Telephone, Device Alarm Email, Company, Company VAT Number

From server? Local?

Secure Sensortive Data?

### Open Source Library

Used Opensource List?

## Current Status(List Filter)

Incomplete

Run

Warning

Error

## Total

Total List Count

## Wifi(List Filter)

Show Places with Wifi

## non-Wifi(List Filter)

Show Places without Wifi

## Filter(Sheet)

### Model Name

Drop Box Model Name

### Sort By

Connection, Home ID, Serial No, Installed Date

### Cancel

### Apply

## Home List

### Home Row

ESS, WiFi Yes/No

Address

n.n Wp

n.n Wh

Home ID

Installed Date

### Home Detail

Loading while enter = Refresh?

Home ID

#### Dashboard

##### Inventory

Battery: N.N kWh,

‘# of Battery’: 0

Solar: n.n Wp

‘# of MPPT’: 0

##### Profile Info

User ID, User Name, Home ID, Serial No, Country, Device Type, Model Name, Install Date, Date Updated, Date Collected, PCS Version, EMS Version, BMS Version 1, BMS Version 2, BMS Version 3, Bootloader Version, GENI Site Creation: COMPLETE

##### Setting Info

3rd party control: Disable

Installed PV, Feed-in Limit, Inverter Limit, Energy Backup

##### Inverter Info

Energy Policy: Stanby

PCS Mode: No Operation

Error Code, AC Info, Voltage, Current, PCS Power [W], Frequence, DC Info, DC Voltage, DC Current

##### PV Info

‘#1 of MPPT’:

Voltage, PV Generation Power, Error Code

‘#2 of MPPT’:

Voltage, PV Generation Power, Error Code

##### BAT Info

Status: Standby

SOC Average, BAT Power

‘#1 of Rack’

User SOC, SOH, Rack Voltage

Cell Temp. Min/Max/Avg

Error Code

…

‘#3 of Rack’

##### Grid Info

Status: null

Voltage, Current, Active Power[W], Reactive Power[VAR], Power Factor, Frequence[Hz], Error Code

###### Load Info

Total Load[W], General Load[W], Core Load[W]

##### Refresh Button

#### Setting

Installation: status?

Map: Location?

Address, Additional address(if necessary), Latitude, Longitude, Country,

Install Info: ID, Company, Telephone, Email, Activation Code

User Info: User ID, User Name, User Telephone, User Email, Owner Name, Owner Contact, Owner Email, Send Email(button, for what??), SIgnature

Memo: Comment

Off-Grid: No/Yes

NMI No: TextField, Modify/Delete button

Retailer: None/Arcstream, Synergy, Symphony, Nectr

Alarm Info: message(Checked alarm is sent once a day when error occurs)

C128: Toggle On/Off

Test Site: No/Yes

Edit(Button) - Cancel/Apply - Error (Telephone Number Validation Error!)

## Install Wizard(+)

### Agreements

Check

Signature

Next: Enable by Checking All

### Enter required information

Serial No.

Model Name: Fetch from Server?

Off-Grid: Yes/No

NMI Number

Retailer: None/Arcstream/Synergy/Symphony/Nectr

Test Site

# History

Alarm, Side Menu

## Event History

Total

### Filter(Sheet)

Select Period: Calendar(Popup)

Event Type: All, Notification, Warning, Error

Sort By: Home ID, Serial No, Event Start, Event End

Cancel, Apply

### Search Bar: Serial No. OR Event Code

### List

## Service History

Total

### Filter

Select Period: Calendar(Popup)

Event Type: All, Notification, Warning, Error

Sort By: Home ID, Serial No, Event Start

Cancel, Apply

### Search Bar: Serial No

### List

# Staticstics

Alarm, Side Menu

## Search Bar: Serial No. OR Home ID

Minute/Hourly Toggle

Date: Calendar

Power Data, Energy Data [Wh], Inverter Data, PV Data, Meter Data, Battery Data

(All present ‘Loading’)